Red Shield Insurance Company®

WOODBURNING STOVE REPORT

Page 2 of 3
Red Shield Insurance Company®

WOODBURNING STOVE REPORT

Page 3 of 3

[image: image1.wmf]CEILING

SIDE

VIEW

B

A

C

K

W

A

L

L

C

D

E

F

A

I

FLOOR

B

FRONT

VIEW

H

G

FLOOR

CEILING

FRONT

VIEW

H

G

FLOOR

CEILING

SIDE

VIEW

B

C

D

E

F

A

B

A

C

K

W

A

L

L

FLOOR

CEILING

[image: image2.jpg]


[image: image3.wmf]CEILING

SIDE

VIEW

B

A

C

K

W

A

L

L

C

D

E

F

A

I

FLOOR

B

FRONT

VIEW

H

G

FLOOR

CEILING

FRONT

VIEW

H

G

FLOOR

CEILING

SIDE

VIEW

B

C

D

E

F

A

B

A

C

K

W

A

L

L

FLOOR

CEILING



WOODBURNING STOVE(S) IS/ARE THE ONLY SOURCE OF HEAT?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

MANUFACTURED OR HOME-BUILT?
      FILLIN   \* MERGEFORMAT 

 FILLIN   \* MERGEFORMAT 
IS LABEL OF RECOGNIZED TESTING LABORATORY PERMANENTLY ATTACHED?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


IF YES,
 FORMCHECKBOX 

UL
 FORMCHECKBOX 

OTHER
     
TYPE OF STOVE
 FORMCHECKBOX 

RADIANT OPEN DRAFT (non-airtight)
 FORMCHECKBOX 

COOK STOVE


 FORMCHECKBOX 

RADIANT AIRTIGHT (gasket mounted)
 FORMCHECKBOX 

CENTRAL WOODBURNING FURNACE


 FORMCHECKBOX 

CIRCULATING (double enclosure)
 FORMCHECKBOX 

FIREPLACE INSERT

ADD-ON WOODBURNING
 FORMCHECKBOX 

FURNACE
ATTACHED TO 
 FORMCHECKBOX 

GAS
 FORMCHECKBOX 

OIL

CONSTRUCTION
 FORMCHECKBOX 

PLATE STEEL
 FORMCHECKBOX 

CAST IRON
 FORMCHECKBOX 

SHEET METAL

INSTALLED BY
 FORMCHECKBOX 

OWNER
 FORMCHECKBOX 

CONTRACTOR

CHIMNEY – FLUE

TYPE OF CHIMNEY
 FORMCHECKBOX 

MASONRY WITHOUT LINER
 FORMCHECKBOX 

MASONRY WITH LINER


 FORMCHECKBOX 

DOUBLE WALL INSULATED METAL

 FORMCHECKBOX 

TRIPLE WALL THERMAL
 FORMCHECKBOX 

SINGLE WALL METAL

HOW OFTEN IS CHIMNEY CLEANED?
     
BY WHOM?
 FORMCHECKBOX 

CONTRACTOR 
 FORMCHECKBOX 

SELF

TOTAL NUMBER OF HEATING UNITS CONNECTED TO SAME CHIMNEY?
     

IF MORE THAN ONE, DOES CHIMNEY HAVE SEPARATE FLUES?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

HAS THERE EVER BEEN A CHIMNEY FIRE?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


IF YES, HAS THE CHIMNEY BEEN INSPECTED BY A PROFESSIONAL AFTER THE FIRE?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO
CHIMNEY CONNECTOR / STOVEPIPE

TYPE OF CONNECTOR (check one)
 FORMCHECKBOX 

NO CONNECTOR – FACTORY BUILT CHIMNEY ATTACHED DIRECTLY TO UNIT

 FORMCHECKBOX 

STOVEPIPE ATTACHED DIRECTLY TO MASONRY CHIMNEY

 FORMCHECKBOX 

STOVEPIPE CONNECTS CHIMNEY THROUGH COMBUSTIBLE WALL, CEILING OR FLOOR


IF THIS TYPE, ANSWER “PROTECTION / CLEARANCE” QUESTIONS A – D BELOW

A.
SHORT INSULATED FACTORY BUILT WALL SLEEVE/CHIMNEY SECTION W/ AT LEAST 8” CLEARANCE
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


B.
FIRE CLAY THIMBLE IN SOLID MASONRY WITH AT LEAST 8” CLEARANCE
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


C.
METAL VENTILATED THIMBLE WITH AT LEAST 6” CLEARANCE
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


D.
WALL CUT BACK FROM PIPE WITH AT LEAST 18” CLEARANCE
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


IF WALL CUT BACK, OPENING IS COVERED BY
     
STOVEPIPE
VERTICAL DIAMETER
     
LENGTH
     
# OF ELBOWS
   

HORIZONTAL DIAMETER
     
LENGTH
     
# OF ELBOWS
   

PROTECTION
IS SOMEONE ON THE PREMISES DURING THE DAY WHEN UNIT IS IN USE?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

IS THERE AN ABC (all classes) FIRE EXTINGUISHER ON HAND?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

IS THERE AT LEAST ONE (1) SMOKE ALARM ON THE PREMISES?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

IS STOVE CLEANED ONCE PER YEAR OR MORE?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

EXPOSURES TO COMBUSTIBLE MATERIAL INCLUDING DRYWALL, PLASTER OR BLOCK OVER WOODSTOVE

FLOOR MATERIAL COMBUSTIBLE?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


IF YES, IS THERE ANY PROTECTIVE COVERING?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

STOVE FOUNDATION IS NON-COMBUSTIBLE MATERIAL WITH:


AT LEAST 18” CLEARANCE FRONT AND SIDES?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO



IF NO, INDICATE CLEARANCE DISTANCE 
     

AT LEAST 6” CLEARANCE REAR?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO



IF NO, INDICATE CLEARANCE DISTANCE
     
PROTECTIVE COVERING ON WALLS
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO
PROTECTIVE COVERING ON CEILING?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


IF YES, DESCRIBE MATERIAL:
     

(asbestos, millboard, minimum 28 gauge sheet metal, etc.)

MINIMUM OF 1” VENTED AIR SPACE ON ALL FOUR SIDES BETWEEN PROTECTIVE COVERING AND


 WALLS?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO


CEILING?
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

STANDOFFS OR SPACERS NONCOMBUSTIBLE (metal, ceramic, etc.)
 FORMCHECKBOX 

YES
 FORMCHECKBOX 

NO

MEASURE AND INDICATE DISTANCES AS ILLUSTRATED BELOW

1.
 FORMCHECKBOX 

2.
 FORMCHECKBOX 




Measurement
Additional Remarks
A
LENGTH OF STOVEPIPE
     
     
B
DISTANCE FROM STOVEPIPE TO NEAREST WALL
     
     
C
DISTANCE FROM BACK OF STOVE TO NEAREST WALL
     
     
D
DISTANCE FROM FRONT OF STOVE TO EDGE OF FLOOR MATERIAL
     
     
E
LENGTH OF LEGS
     
     
F
THICKNESS OF FLOORING MATERIAL
     
     
G
DISTANCE FROM STOVE TO EDGE OF FLOORING
     
     
H
DISTANCE FROM STOVE TO EDGE OF FLOORING
     
     
I
DISTANCE FROM STOVEPIPE TO CEILING
     
     
ANY PERSON WHO KNOWINGLY AND WITH INTENT TO DEFRAUD ANY INSURANCE COMPANY OR ANOTHER PERSON FILES AN APPLICATION FOR INSURANCE OR STATEMENT OF CLAIM CONTAINING ANY MATERIALLY FALSE INFORMATION, OR CONCEALS FOR THE PURPOSE OF MISLEADING INFORMATION CONCERNING ANY FACT MATERIAL THERETO, COMMITS A FRAUDULENT INSURANCE ACT, WHICH IS A CRIME AND SUBJECTS THE PERSON TO CRIMINAL AND [NY: SUBSTANTIAL] CIVIL PENALTIES. (Not applicable in CO, DC, FL, HI, MA, MN, NE, OH, OK, OR, VT or WA; in LA, ME, TN and VA, insurance benefits may also be denied) 

IN MASSACHUSETTS, NEBRASKA, OREGON AND VERMONT, ANY PERSON WHO KNOWINGLY AND WITH INTENT TO DEFRAUD ANY INSURANCE COMPANY OR ANOTHER PERSON FILES AN APPLICATION FOR INSURANCE OR STATEMENT OF CLAIM CONTAINING ANY MATERIALLY FALSE INFORMATION, OR CONCEALS FOR THE PURPOSE OF MISLEADING INFORMATION CONCERNING ANY FACT MATERIAL THERETO, MAY BE COMMITTING A FRAUDULENT INSURANCE ACT, WHICH MAY BE A CRIME AND MAY SUBJECT THE PERSON TO CRIMINAL AND CIVIL PENALTIES.

IN WASHINGTON, IT IS A CRIME TO KNOWINGLY PROVIDE FALSE, INCOMPLETE, OR MISLEADING INFORMATION TO AN INSURANCE COMPANY FOR THE PURPOSE OF DEFRAUDING THE COMPANY. PENALTIES INCLUDE IMPRISONMENT, FINES, AND DENIAL OF INSURANCE BENEFITS. 
This form shall be attached to, and made part of, the fully completed Acord application by the applicant.
� EMBED CorelDRAW.Graphic.9  ���





Red Shield Insurance Company®


1411 SW Morrison Street, Suite 400


Portland, OR 97205-1945


800-527-7397 • Fax 800-742-5176





WOODBURNING STOVE REPORT


Page � PAGE �1� of � NUMPAGES �3�











QN 00 02 07 10
QN 00 002 07 10
QNR 00 02 07 10

_1077027881.unknown

